Summary – Proposed Data Center Ordinance

Date: 07/14/26

Summary for Fiscal Court Members

Draft Data Center Ordinance Overview

# Overview

- Henderson's draft ordinance is built on the Kentucky Resources Council (KRC) Model Data Center Siting Ordinance (v1.4); most of the framework and language carries over directly.

- Most substantive departures from the model establish more protective standards, while other changes adapt the model to Henderson County’s existing approval process: stronger protection for neighboring property owners and tighter ongoing oversight of the facility once it's operating.

- Five main types of changes: (1) larger setbacks and a stricter noise limit, (2) new public-notice steps before an application can even be filed, (3) a permit expiration clause, (4) stronger compliance, reporting, and complaint-handling requirements after approval, and (5) an entirely new property value protection plan for neighbors.

# 1. Larger Buffers, Stricter Noise Limit

| Standard | KRC Model Ordinance | Henderson Draft |
| --- | --- | --- |
| Outer perimeter setback | 500 feet | 1,500 feet; may be reduced along a specifically identified adjoining-property boundary to no less than 750 feet, subject to written waiver, Board approval, acoustical findings, and required mitigation. |
| Setback from Sensitive Uses or Residential, Commercial, or Agricultural District boundaries | 1,500 feet | 2,000 feet from a Sensitive Use or the boundary of any Residential, Commercial, or Agricultural District. This setback may not be waived or reduced. |
| Emission point or exhaust-stack setback | 1,000 feet from the property boundary of an adjacent property; and 2,000 feet from any Sensitive Use or the boundary of any Residential, Commercial, or Agricultural District. | 2,000 feet from an adjacent property boundary, Sensitive Use, or the boundary of a Residential, Commercial, or Agricultural District. |
| Noise limit at property line | 40 dBA / 60 dBC at night; 45 dBA / 65 dBC daytime | 35 dBA / 45 dBC at all external perimeter property lines, subject only to the limited exemptions identified in Section 5. H (5). Routine generator testing and commissioning remain subject to the limits. |
| Zoning district | “Industrial – Data Center” | Heavy Industrial (M-2), specifically |

Bottom line: a data center must sit farther from the property line and run quieter under Henderson's draft than under the model ordinance.

# 2. New Public Engagement Requirement

- A required public information meeting before an application can even be filed, not in the KRC model.

- Applicants must document that the public informational meeting was held, that public notice was provided, the materials presented at the meeting, and a summary of public comments or questions received.

- Reasonable efforts to provide mailed notice to all owners of land within one mile of the property line of the proposed site, as a local pre-filing requirement in addition to any otherwise applicable state notice requirements.

- A Photometric Plan is required to back up the lighting standards.

# 3. Permit Expiration

- Approval expires if a building permit isn't issued within one year, which is not addressed in the KRC model.

- One-year extension is available, but only if the county finds the approval still meets the ordinance and still protects public health and safety.

- Prevents a company from banking a zoning approval indefinitely without building.

# 4. Stronger After-Approval Oversight

- Annual compliance certification is due every January 31, covering operational changes, monitoring results, complaints, and any violations from the prior year.

- 24/7 complaint response system required, with firm response deadlines: 2 business days to acknowledge, 10 business days to respond in writing.

- The County may require independent testing at the owner’s or operator’s expense when a complaint presents credible evidence of a potential violation. Confirmed noncompliance requires a corrective-action plan; failure to timely correct may result in enforcement, including suspension or revocation where authorized by law.

- A defined list of “material changes” (more power demand, more generators, cooling changes, reduced setbacks, etc.) that automatically require Planning Commission review and approval and may require modification of the Conditional Use Permit by the Board of Zoning Adjustment.

- Decommissioning financial assurance must equal 120% of the estimated gross decommissioning cost, without any deduction, credit, or offset for anticipated salvage, resale, recycling, or scrap value. The amount must be reviewed at least every two years, with at least 90 days’ prior notice before the assurance may be cancelled, allowed to expire, materially reduced, or terminated.

# 5. New: Real Property Value Protection Plan (Section 8)

- Not in the KRC model at all, which is Henderson-specific.

- Gives eligible non-participating property owners of record within one mile a path to compensation if they demonstrate an actual loss in property value attributable to the data center. Unless the County expressly provides otherwise as a condition of approval, eligibility is limited to the owner of record on the date the permit is issued and does not automatically extend to subsequent owners.  An eligible property owner may invoke the agreement only once and must do so within ten years after final approval of the Data Center.

- Process: Each side selects one licensed appraiser, with all appraisal costs paid by the applicant. If the two appraisals differ by more than 10%, the appraisers jointly select a third independent appraiser and the median of the three determinations controls. If the first two appraisals differ by 10% or less, the two valuations are averaged.

- Applicants pay all appraisal costs through an escrow account, and payment is due within 30 days of final determination.

- Backed by a financial assurance in the form of a bond, letter of credit, or other surety acceptable to Henderson County; failure to maintain the surety is grounds for suspension or revocation of the permit.

- Written as a condition of approval, with no automatic presumption that any property has lost value; payment only follows an actual, documented loss.

# Summary Takeaway

Henderson's draft ordinance takes the same regulatory structure as the KRC model but calibrates it for a more protective posture: bigger buffers, a lower noise ceiling, an upfront public-engagement requirement, sharper enforcement tools once the facility is running, and a new mechanism for compensating neighbors for demonstrated property value loss.